## Sheet1
RWUE PROJECT SUMMARY TABLE
| Date: XX/XX/XX | [9 empty] | Select land use from Drop down
| Project Study Area per RWUP WO XXXXX | Tract Number/APN | Proposed Recycled Water Irrigation Plan (RWIP) | POC Designation | Recycled and Potable Water Use Areas (Indicate the color used) | Initial Source of Water Supply | Meter Location (Street Name and Side) | Land Use Type (Description) | Land Use Functionality | Meter Size (Inches) | Service Line Size (Inches) | Maintenance Entity | Irrigated Area Served (Square Feet) | Irrigated Area Served (Acres) | Maximum Irrigation Peak Demand (GPM) | Maximum Irrigation Annual Water Use (Acre FT / Year) | Safe Meter Capacity | Application Method | Watering Window Restricted
| Study Area XX | 12345 | Basin and Slopes | 1 |  | Recycled | South side of Street 1 | Basin and Slopes | Non-Functional | 1.5 | 2 | Valley Wide/Private/HOA/City/Etc. | 272000 | 6.2443 | 74.3269 | 14.9862 | 75 | Drip/Bubbler | Unrestricted
| Study Area XX | [12 empty] | 0 | 0 | 0 | 0
| Study Area XX | [12 empty] | 0 | 0 | 0 | 0
| Study Area XX | 12345 | Park | A |  | Potable | West side of Street 'A' | Restrooms |  | 5/8 | 1 |  |  | 0 | 0 | 0 | 0
[14 empty] | 0 | 0 | 0 | 0
| Owner:_______________________ |  |  |  | Contact:________________ |  |  | RWUP SUMMARY
| Address:______________________ |  |  |  | Phone #: _______________ |  |  | Project Study Area: | [5 empty] | Recycled Totals | 272000 | 6.2443 | 74.3269 | 14.9862
| _____________________________ | [6 empty] | Parcel: | [5 empty] | Potable Totals | 0 | 0 | 0 | 0
| Developer:____________________ |  |  |  | Contact:________________ |  |  | Gross Site Area (acres): |  | XX
| Address:_____________________ |  |  |  | Phone #________________ |  |  | Irrigated Area (acres): |  | XX |  |  |  | Difference from RWUP
| ________________________________________ | [6 empty] | Max Peak Demand Allowed (GPM): |  | XX
[8 empty] | Max Demand Allowed (ACRE/FT/YR): |  | XX
|  | THESE CELLS CONTAIN FORMULA'S THAT SHALL NOT BE ALTERED. | [8 empty] | EMWD Administrative Code 5111 with a .50 factor for all new construction as of 6/1/15. Formula for water use calculations within table cells have been updated.
Table Definition per Column
B) | Project Study Area = The study area designation used on the RWUP drawing (Ensure that numbers are used for recycled water POCs and letters for potable water POCs)
C) | Tract Number = Tract Number or Parcel Number
D) | Proposed Recycled Water Irrigation Plan (RWIP) = The current proposed name of the future irrigation plan
E) | POC Designation = The POC designation used on the RWUE drawing (Ensure that numbers are used for recycled water POCs and letters for potable water POCs)
F) | Recycled and Potable Water Use Areas = Indicate the color used on the RWUE
G) | Initial Source of Water Supply (Recycled, Potable, or Temporary Potable)
H) | Meter Location = Street Name and Side: Indicate the street name and side of street the meter is located on north, south, southeast, etc.)
I) | Land Use Type/Description = For example park, streetscape, etc. (Used to determine the functionality of irrigation)
J) | Land Use Functionality = Functional, Non-Functional, or Not Determined
K) | Meter Size = The size of the meter to be installed
L) | Service Line Size = The size of the service line to be installed
M) | Maintenance Entity = Maintenance Entity that will ultimately maintain the recycled water use area ( LLMD, HOA, Valley Wide etc.)
N) | Irrigated Area Served (Square Feet) = The total portion of land that will be irrigated by the specific meter in sq. ft.
O) | Irrigated Area Served (Acres) = The total portion of land that will be irrigated by the specific meter in acres
P) | Maximum Irrigation Peak Demand (GPM) = See CAD Toolbox for the explanation of calculation
Q) | Maximum Irrigation Annual Water Use (Acre FT/Year) = See CAD Toolbox for the explanation of calculation
R) | Safe Meter Capacity = The size of the meter that should be installed to meet demand
S) | Application Method = The type of irrigation system that will be used for watering
T) | Watering Window Restricted = The time when usage is restricted. See Recycled Water Guidelines for details
Irrigation Type
Functional
Non-Functional
Not-Determined